| Project | Estimated Cost | Source of funds | Who implements? | Timeline |
| --- | --- | --- | --- | --- |
| Drainage spouts repaired underground | 8,000 -10,000 | Millage | City | Winter 2017-18 |
| Parking lot |  | DDA | DDA | April 2018 |
| Concrete pathway between market and Kerrytown | $13,000 | Developer contributions/millage | DDA | Nov 2017 |
| Sandblast columns to eliminate rust | $1000 | Millage | City (Tetra Tech) | Spring |
| Replace lights | $6,000-$9,000 Fluorescent or LED, 78 lights | Millage | City | This winter |
| Streetscaping on 4th |  | DDA | DDA | This fall |
| Replace gutters | $20,000 (spot repair recaulk joints) | Developer contributions/millage | Contractor through City | This winter |
| Powerwash ceiling | minimal | Millage | City | Spring |
| ADA bathrooms | Staff researching, TBD |  |  |  |
| Additional light added to lamppost in middle | $1500 | Millage | DDA | This fall |
| Line stormwater drains | $21,000 | Funding TBD | DDA | Winter 2017-18 |